## TECHNICAL OFFER

***N.B. The Key Experts Form (including Self-declaration form for Key Experts and the Statement re Availability), CVs and Literature List are subject to Note 2. Any other components of the technical offer are under Note 3.***

**Note: Where in this tender document a standard, brand or label is quoted, it is to be understood that the Contracting Authority will accept equivalent standards, brands or labels. However, it will be the responsibility of the respective bidders to prove that the standards, brands or labels they quoted are equivalent to the standards requested by the Contracting Authority.**

This form is to be submitted online through the prescribed tender response format and by using the Tender Preparation Tool provided. Bidders are to state the brand and the model of the supplies being offered in response to the specifications requested under Section 3 – Technical Specifications.

Tenderers that fail to complete and upload the requested information will be deemed as non-compliant and will not be considered further for final adjudication. The information/technical specifications provided in the below table shall not be subject to rectifications.

For each item offered, the respective supporting documents and printed manufacturer’s technical literature are to be submitted by the bidder as per the form marked “Literature”.

|  |  |  |
| --- | --- | --- |
| **Item No** | **Description** | **The Brand / Model Number / Catalogue Reference of the items being offered**  **are to be inserted next to each item in the space provided below (Enter details here)** |
| 1 | Total Bacteria and Somatic Cell Counter for Dairy Milk |  |
| 2 | Performs Individual Bacteria Count (IBC). Cadence: 15 samples/hour |  |
| 3 | Performs Individual Bacteria Count (IBC) and total Somatic Cell Count (SCC). Cadence: 15 samples/hour when IBC and SCC counted from the same sample 40 samples/hour when only SCC are counted |  |
| 4 | Waste Unit Sensor |  |
| 5 | Sample Cups, 30 ml with lids |  |
| 6 | PC System including keyboard, mouse, monitor and printer |  |

## Literature List (Note 2)

List of literature to be submitted with the offer.

Supporting documents and printed manufacturer’s technical literature furnished by the tenderer may be in another language, provided they are accompanied by an accurate translation into English. For the purposes of interpretation of the tender, the English language will prevail.

ALL BIDDERS ARE TO NOTE THAT PHOTOS SUBMITTED AS MANUFACTURER‘S TECHNICAL LITERATURE **SHALL NOT SUFFICE** AND ACCORDINGLY THESE **MUST BE DULY ACCOMPANIED BY THE RESPECTIVE DETAILED MANUFACTURER‘S TECHNICAL LITERATURE.**

The submission shall be in a structured form and is to be in the same sequence as listed hereunder for ease of reference and evaluation.

|  |  |  |
| --- | --- | --- |
| **Item No.** | **Description** | **Reference in Technical Specifications** |
| **1.1** | Total Bacteria and Somatic Cell Counter for Dairy Milk | Section 3 |
| **1.2** | Performs Individual Bacteria Count (IBC). Cadence: 15 samples/hour | Section 3 |
| **1.3** | Performs Individual Bacteria Count (IBC) and total Somatic Cell Count (SCC). Cadence: 15 samples/hour when IBC and SCC counted from the same sample 40 samples/hour when only SCC are counted | Section 3 |
| **1.4** | Waste Unit Sensor | Section 3 |
| **1.5** | Sample Cups, 30 ml with lids | Section 3 |
| **1.6** | PC System including keyboard, mouse, monitor and printer | Section 3 |