## Milk Reception
|  | NODE | ITEM | Type | Address | DESTINATION | CABLE | Example | accessories
RCGA | YV100 | 35 | RCGAYV100 | Valve | A66,0 | FILLER 1 | Application - Hygienic and wet areas of the food industry Special Features - Silicone-free, halogen-free, gold-plated contacts, drag chain suitability Electrical Data - Voltage, insulation class, current Environmental Conditions - Temperature, humidity, protection class Mechanical Data - Weight, dimensions, materials Drag Chain Suitability - Detailed Technical Specifications Electrical Connection - Cable and Connector Specifications Pinout - M12 Connector Pinout Certifications - CE, cULus, UKCA Length - 20m | https://www.ifm.com/it/it/product/EVF003 | Cable Tray, Electro-Galvanised Steel,20m x 200mm x 60mm
RCGA | G100 | 35 | RCGAG100 | Analog valve | PAW552 |  | Application - Hygienic and wet areas of the food industry Special Features - Silicone-free, halogen-free, gold-plated contacts, drag chain suitability Electrical Data - Voltage, insulation class, current Environmental Conditions - Temperature, humidity, protection class Mechanical Data - Weight, dimensions, materials Drag Chain Suitability - Detailed Technical Specifications Electrical Connection - Cable and Connector Specifications Pinout - M12 Connector Pinout Certifications - CE, cULus, UKCA Length - 20m | https://www.ifm.com/it/it/product/EVF003 | Cable Tray, Electro-Galvanised Steel,20m x 200mm x 60mm
| PAG03 | 35 | PAG03 | Temperature Trasmitter | PEW552 |  | Application - Hygienic and wet areas of the food industry Special Features - Silicone-free, halogen-free, gold-plated contacts, drag chain suitability Electrical Data - Voltage, insulation class, current Environmental Conditions - Temperature, humidity, protection class Mechanical Data - Weight, dimensions, materials Drag Chain Suitability - Detailed Technical Specifications Electrical Connection - Cable and Connector Specifications Pinout - M12 Connector Pinout Certifications - CE, cULus, UKCA Length - 20m | https://www.ifm.com/it/it/product/EVF003 | Cable Tray, Electro-Galvanised Steel,20m x 200mm x 60mm
NEW MATERIAL
|  |  | MATERIAL TO ACQUIRE | QTA'
|  |  | 6ES7 153-1AA03-0XB0 | 1
|  |  | 6ES7392-1AJ00-0AA0 | 3
|  |  | 6ES7331-7KF02-0AB0 | 1
|  |  | 6ES7332-5HD01-0AB0 | 1
|  |  | 6ES7323-1BH01-0AA0 | 1

## Filler Area
|  | NODE | ITEM | Type | Address | DESTINATION | CABLE | Example | accessories
FI01 | YV100 | 23 | FI01YV100 | Valve | A134.0 | FILLER 1 | Application - Hygienic and wet areas of the food industry Special Features - Silicone-free, halogen-free, gold-plated contacts, drag chain suitability Pinout - M12 Connector Pinout Certifications - CE, cULus, UKCA Length - 20m | https://www.ifm.com/it/it/product/EVF003 | Cable Tray, Electro-Galvanised Steel,20m x 200mm x 60mm
FI01 | PT1 | 23 | FI01PT1 | Pressure Trasmitter | PEW928 |  | Application - Hygienic and wet areas of the food industry Special Features - Silicone-free, halogen-free, gold-plated contacts, drag chain suitability Pinout - M12 Connector Pinout Certifications - CE, cULus, UKCA Length - 20m | https://www.ifm.com/it/it/product/EVF003 | Cable Tray, Electro-Galvanised Steel,20m x 200mm x 60mm
FI01 | GA01 | 23 | FI01GA01 | Analog valve | PAW928 |  | Application - Hygienic and wet areas of the food industry Special Features - Silicone-free, halogen-free, gold-plated contacts, drag chain suitability Pinout - M12 Connector Pinout Certifications - CE, cULus, UKCA Length - 20m | https://www.ifm.com/it/it/product/EVF003 | Cable Tray, Electro-Galvanised Steel,20m x 200mm x 60mm
FI01 | TI01 | 23 | FI01TI01 | Temperature Trasmitter | PEW930 |  | Application - Hygienic and wet areas of the food industry Special Features - Silicone-free, halogen-free, gold-plated contacts, drag chain suitability Pinout - M12 Connector Pinout Certifications - CE, cULus, UKCA Length - 20m | https://www.ifm.com/it/it/product/EVF003 | Cable Tray, Electro-Galvanised Steel,20m x 200mm x 60mm
FI02 | YV100 | 23 | FI02YV100 | Valve | A134.1 | FILLER 2 | Application - Hygienic and wet areas of the food industry Special Features - Silicone-free, halogen-free, gold-plated contacts, drag chain suitability Pinout - M12 Connector Pinout Certifications - CE, cULus, UKCA Length - 20m | https://www.ifm.com/it/it/product/EVF003 | Cable Tray, Electro-Galvanised Steel,20m x 200mm x 60mm
FI02 | PT1 | 23 | FI02PT1 | Pressure Trasmitter | PEW932 |  | Application - Hygienic and wet areas of the food industry Special Features - Silicone-free, halogen-free, gold-plated contacts, drag chain suitability Pinout - M12 Connector Pinout Certifications - CE, cULus, UKCA Length - 20m | https://www.ifm.com/it/it/product/EVF003 | Cable Tray, Electro-Galvanised Steel,20m x 200mm x 60mm
FI02 | GA01 | 23 | FI02GA01 | Analog valve | PAW930 |  | Application - Hygienic and wet areas of the food industry Special Features - Silicone-free, halogen-free, gold-plated contacts, drag chain suitability Pinout - M12 Connector Pinout Certifications - CE, cULus, UKCA Length - 20m | https://www.ifm.com/it/it/product/EVF003 | Cable Tray, Electro-Galvanised Steel,20m x 200mm x 60mm
FI02 | TI01 | 23 | FI02TI01 | Temperature Trasmitter | PEW934 |  | Application - Hygienic and wet areas of the food industry Special Features - Silicone-free, halogen-free, gold-plated contacts, drag chain suitability Pinout - M12 Connector Pinout Certifications - CE, cULus, UKCA Length - 20m | https://www.ifm.com/it/it/product/EVF003 | Cable Tray, Electro-Galvanised Steel,20m x 200mm x 60mm
FI03 | YV100 | 23 | FI03YV100 | Valve | A134.2 | FILLER 3 | Application - Hygienic and wet areas of the food industry Special Features - Silicone-free, halogen-free, gold-plated contacts, drag chain suitability Pinout - M12 Connector Pinout Certifications - CE, cULus, UKCA Length - 20m | https://www.ifm.com/it/it/product/EVF003 | Cable Tray, Electro-Galvanised Steel,20m x 200mm x 60mm
FI03 | PT1 | 23 | FI03PT1 | Pressure Trasmitter | PEW936 |  | Application - Hygienic and wet areas of the food industry Special Features - Silicone-free, halogen-free, gold-plated contacts, drag chain suitability Pinout - M12 Connector Pinout Certifications - CE, cULus, UKCA Length - 20m | https://www.ifm.com/it/it/product/EVF003 | Cable Tray, Electro-Galvanised Steel,20m x 200mm x 60mm
FI03 | GA01 | 23 | FI03GA01 | Analog valve | PAW932 |  | Application - Hygienic and wet areas of the food industry Special Features - Silicone-free, halogen-free, gold-plated contacts, drag chain suitability Pinout - M12 Connector Pinout Certifications - CE, cULus, UKCA Length - 20m | https://www.ifm.com/it/it/product/EVF003 | Cable Tray, Electro-Galvanised Steel,20m x 200mm x 60mm
FI03 | TI01 | 23 | FI03TI01 | Temperature Trasmitter | PEW938 |  | Application - Hygienic and wet areas of the food industry Special Features - Silicone-free, halogen-free, gold-plated contacts, drag chain suitability Pinout - M12 Connector Pinout Certifications - CE, cULus, UKCA Length - 20m | https://www.ifm.com/it/it/product/EVF003 | Cable Tray, Electro-Galvanised Steel,20m x 200mm x 60mm
NEW MATERIAL
|  |  | MATERIAL TO ACQUIRE | QTA'
|  |  | 6ES7392-1AJ00-0AA0 | 2
|  |  | 6ES7331-7KF02-0AB0 | 1
|  |  | 6ES7332-5HD01-0AB0 | 1

## PastorizzatoreLatte
|  | NODE | ITEM | Type | Address | DESTINATION | CABLE | Example | accessories
FI01 | YV100 | 33 | FI01YV100 | Valve | A134.0 |  | Application - Hygienic and wet areas of the food industry Special Features - Silicone-free, halogen-free, gold-plated contacts, drag chain suitability Pinout - M12 Connector Pinout Certifications - CE, cULus, UKCA Length - 20m | https://www.ifm.com/it/it/product/EVF003 | Cable Tray, Electro-Galvanised Steel,20m x 200mm x 60mm
MPA08 | PT2 | 33 | MPA08PT2 | Pressure Trasmitter | PEW928 |  | Application - Hygienic and wet areas of the food industry Special Features - Silicone-free, halogen-free, gold-plated contacts, drag chain suitability Pinout - M12 Connector Pinout Certifications - CE, cULus, UKCA Length - 20m | https://www.ifm.com/it/it/product/EVF003 | Cable Tray, Electro-Galvanised Steel,20m x 200mm x 60mm
MPA07 | GA01 | 33 | MPA07GA01 | Analog valve | PAW928 |  | Application - Hygienic and wet areas of the food industry Special Features - Silicone-free, halogen-free, gold-plated contacts, drag chain suitability Pinout - M12 Connector Pinout Certifications - CE, cULus, UKCA Length - 20m | https://www.ifm.com/it/it/product/EVF003 | Cable Tray, Electro-Galvanised Steel,20m x 200mm x 60mm
21 | T107 | 33 | 21T107 | Temperature Trasmitter | PEW930 |  | Application - Hygienic and wet areas of the food industry Special Features - Silicone-free, halogen-free, gold-plated contacts, drag chain suitability Pinout - M12 Connector Pinout Certifications - CE, cULus, UKCA Length - 20m | https://www.ifm.com/it/it/product/EVF003 | Cable Tray, Electro-Galvanised Steel,20m x 200mm x 60mm
NEW MATERIAL
|  |  | MATERIAL TO ACQUIRE | QTA'
|  |  | 6ES7 132-6BF00-0BA0 | 3
|  |  | 6AG1193-6BP00-7BA0 | 1
|  |  | 6ES7 134-6GD00-0BA1 | 1
|  |  | 6ES7 135-6HD00-0BA1 | 1

## Yougurt
|  | NODE | ITEM | Type | Address | DESTINATION | CABLE | Example | accessories
YC | YV100 | 23 | YCYV100 | Valve | A56.0 | YC | Application - Hygienic and wet areas of the food industry Special Features - Silicone-free, halogen-free, gold-plated contacts, drag chain suitability Pinout - M12 Connector Pinout Certifications - CE, cULus, UKCA Length - 20m | https://www.ifm.com/it/it/product/EVF003 | Cable Tray, Electro-Galvanised Steel,20m x 200mm x 60mm
YC | PT1 | 23 | YCPT1 | Pressure Trasmitter | PEW512 | YC | Application - Hygienic and wet areas of the food industry Special Features - Silicone-free, halogen-free, gold-plated contacts, drag chain suitability Pinout - M12 Connector Pinout Certifications - CE, cULus, UKCA Length - 20m | https://www.ifm.com/it/it/product/EVF003 | Cable Tray, Electro-Galvanised Steel,20m x 200mm x 60mm
YC | GA01 | 23 | YCGA01 | Analog valve | PAW928 | YC | Application - Hygienic and wet areas of the food industry Special Features - Silicone-free, halogen-free, gold-plated contacts, drag chain suitability Pinout - M12 Connector Pinout Certifications - CE, cULus, UKCA Length - 20m | https://www.ifm.com/it/it/product/EVF003 | Cable Tray, Electro-Galvanised Steel,20m x 200mm x 60mm
YC | TI01 | 23 | YCTI01 | Temperature Trasmitter | PEW514 | YC | Application - Hygienic and wet areas of the food industry Special Features - Silicone-free, halogen-free, gold-plated contacts, drag chain suitability Pinout - M12 Connector Pinout Certifications - CE, cULus, UKCA Length - 20m | https://www.ifm.com/it/it/product/EVF003 | Cable Tray, Electro-Galvanised Steel,20m x 200mm x 60mm
NEW MATERIAL
|  |  | MATERIAL TO ACQUIRE | QTA'
|  |  | 6ES7392-1AJ00-0AA0 | 2
|  |  | 6ES7331-7KF02-0AB0 | 1
|  |  | 6ES7332-5HD01-0AB0 | 1
|  |  | 6ES7332-1BL00-0AB0 | 1
|  |  | 6ES7392-1BL00-0AA0 | 1

## Foglio1
[6 empty] | DESCRIPTION | Type | Fb_Act |  | Fb_Deact |  | Act
G1 | 730 | . | A05 | . | V001 | G1730.A05.V001 | Valve | E6.0 | K114 | E7.0 | K116 | A6.0 | K120
G1 | 730 | . | A05 | . | V002 | G1730.A05.V002 | Valve | E6.1 | K114 | E7.1 | K116 | A6.1 | K120
G1 | 730 | . | A05 | . | V003 | G1730.A05.V003 | Valve | E6.2 | K114 | E7.2 | K116 | A6.2 | K120
G1 | 730 | . | A05 | . | V004 | G1730.A05.V004 | Valve | E6.3 | K114 | E7.3 | K116 | A6.3 | K120
G1 | 730 | . | A06 | . | V001 | G1730.A06.V001 | Valve | E6.4 | K115 | E7.4 | K117 | A6.4 | K121
G1 | 730 | . | A06 | . | V002 | G1730.A06.V002 | Valve | E6.5 | K115 | E7.5 | K117 | A6.5 | K121
G1 | 730 | . | A06 | . | V003 | G1730.A06.V003 | Valve | E6.6 | K115 | E7.6 | K117 | A6.6 | K121
G1 | 730 | . | A06 | . | V004 | G1730.A06.V004 | Valve | E6.7 | K115 | E7.7 | K117 | A6.7 | K121
G1 | 730 | . | A05 | . | GS01 | G1730.A05.GS01 | Lis | E8.0 | K118
G1 | 730 | . | A05 | . | GS02 | G1730.A05.GS02 | Lis | E8.1 | K118
G1 | 730 | . | A05 | . | GS03 | G1730.A05.GS03 | Lis | E8.2 | K118
G1 | 730 | . | A05 | . | GS04 | G1730.A05.GS04 | Lis | E8.3 | K118
G1 | 730 | . | A06 | . | GS01 | G1730.A06.GS01 | Lis | E8.4 | K119
G1 | 730 | . | A06 | . | GS02 | G1730.A06.GS02 | Lis | E8.5 | K119
G1 | 730 | . | A06 | . | GS03 | G1730.A06.GS03 | Lis | E8.6 | K119
G1 | 730 | . | A06 | . | GS04 | G1730.A06.GS04 | Lis | E8.7 | K119
G1 | 730 | . | A07 | . | V001 | G1730.A07.V001 | On Off Steam |  |  |  |  | A7.7 | K122
G1 | 730 | . | A07 | . | 500 | G1730.A07.500 | Temperature Trasmitter | PEW288 | K125
G1 | 730 | . | A07 | . | 501 | G1730.A07.501 | Temperature Trasmitter | PEW290 | K125
G1 | 730 | . | A07 | . | 400 | G1730.A07.400 | Pressure Trasmitter | PEW292 | K126
G1 | 730 | . | A07 | . | 401 | G1730.A07.401 | Pressure Trasmitter | PEW294 | K126
G1 | 730 | . | A07 | . | PM1 | G1730.A07.PM1 | Pump 380V 2.5A | E9.0 | K120 |  |  | A7.0 | K122
G1 | 730 | . | A07 | . | E301 | G1730.A07.E301 | Analog value E301 | PEW296 | K127 |  |  | PAW264 | K128
Note on P1: FABRIZIO LERDA: